## Summary
| Instrument |  |  | Field Observation
Obs Date | SWE CS725 TL (in) | SWE CS725 K (in) | Depth sonic (in) | SWE Obs fed sampler AVG (in) | SWE Obs fed sampler AVG cor (in) | SWE Observed closest | Depth Observed avg (in) | Depth Obs closest | Depth Obs under Sonic with rod | Comments
2015-12-04 | 0.83 | 0.83 |  | 3.15 | 2.9167 |  | 19.6
2016-01-28 | 7.99 | 8.35 |  | 13.8 | 12.7778 |  | 45.7 |  |  | CS 725 calibration had problems
2016-02-24 | 8.8189 | 9.4094 | 45.5512 | 15.1 | 13.9815 |  | 42.9 |  |  | CS 725 calibration had problems
2016-03-31 | 14.8425 | 14.9213 | 41.6535 | 16.25 | 15.0463 |  | 39.55
2016-11-30 | 0.86614 | 1.0236 | 7.874 | 1.65 | 1.5278 |  | 6.15 |  |  | Gamma sensor recalibarted,
2016-12-22 | 4.8031 | 5.1181 | 22.4409 | 4.9167 | 4.5525 |  | 22.7917 |  |  |  | 0 | 0
2017-01-20 | 12.1654 | 12.874 | 46.4567 | 13.65 | 12.6389 |  | 53.5 |  | 54 | Depth sensor maxed out | 20 | 20
2017-02-10 | 13.54 | 15.16 | 48.4252 | 16.2 | 15 |  | 48 |  | 47.5
2017-03-02 | 15.5118 | 16.8504 | 57.4803 | 18.75 | 17.3611 |  | 57.4803 |  | 58.5
2017-05-01 | 7.0866 | 7.2835 | 20.4 | 10.1667 | 9.4136 |  | 24.1667 |  | 19.5
2017-12-14 | 1.34 | 1.42 | 6.5748 | 1.5 | 1.3889 |  | 6.875 |  | 6.3
2018-01-11 | 3.31 | 3.54 | 13 | 3.7 | 3.4259 |  | 15.5
2018-02-01 | 6.73 | 7.05 | 25.3 | 7.6 | 7.037 |  | 26.8
2018-02-21 | 6.97 | 7.28 | 26 | 7.2 | 6.6667 |  | 27
2018-03-08 | 9.98 | 10.26 | 35.8 | 10.5 | 9.7222 |  | 37.5
2018-04-13 | 7.95 | 8.86 | 26 | 8.6 | 7.963 |  | 26.4 |  | 27.7
2018-12-11 | 3.4646 | 3.8189 | 15.0787 | 3.7083 | 3.4336 |  | 16.375 |  | 15.6667
2019-01-23 | 8.5827 | 9.0551 | 31.2205 | 9.9167 | 9.1821 |  | 33.0417 |  | 32.125
2019-02-15 | 14.13 | 15.35 | 58.5 | 17.5 | 16.2037 |  | 68.4167
2019-02-25 |  |  | 74.8031 | 20.875 | 19.3287 |  | 84.9167 |  |  | SWE sensor and ultra sonic sensor went under snow
2020-01-09 | 5.787 | 6.26 | 27.6 | 6.8 | 6.2963 |  | 28.3
2020-01-30 | 10.9 | 11.3 | 41.5 | 12 | 11.1111 |  | 44.3
2020-02-27 | 13.4 | 14.3 | 45.8 | 15.5 | 14.3519 |  | 48.2
2020-12-04 | 4.8 | 5.2 | 17.5 | 5.8 | 5.3704 |  | 19
2021-01-07 | 9.3 | 10 | 42 | 10.3 | 9.537 |  | 44.9
2021-02-19 | 14.1 | 14.8 | 59.2 | 15.7 | 14.537 |  | 62.8
2021-03-23 | 13.5 | 15.1 | 51.4 | 16.6 | 15.3704 |  | 54.1
2021-04-04 | 12.95 | 14.29 | 42.4 | 15.7 | 14.537 |  | 44.7

## 1242015
Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
1 | 18 | 16 | 0 | 18 | 4.25 | 1.5 | 2.75 | 15.28%
2 | 22 | 14 | 1 | 21 | 5 | 1.5 | 3.5 | 16.67%
3 | 21.5 | 14 | 1 | 20.5 | 5 | 1.5 | 3.5 | 17.07%
4 | 21 | 13 | 0 | 21 | 4.75 | 1.5 | 3.25 | 15.48%
5 | 21 | 13.5 | 0 | 21 | 5 | 1.5 | 3.5 | 16.67%
6 | 21 | 17.5 | 0 | 21 | 5 | 1.5 | 3.5 | 16.67%
7 | 20.5 | 14 | 1.5 | 19 | 4 | 1.5 | 2.5 | 13.16%
8 | 20 | 15 | 1 | 19 | 4.5 | 1.5 | 3 | 15.79%
9 | 19 | 12.5 | 0.5 | 18.5 | 5 | 1.5 | 3.5 | 18.92%
10 | 18 | 9.5 | 1 | 17 | 4 | 1.5 | 2.5 | 14.71%
Mean | 20.2 | 13.9 | 0.6 | 19.6 | 4.65 | 1.5 | 3.15 | 16.04%
[9 empty] | Mean | 3.15
| Sensor reporting 21 mm on 12/4/15 | [7 empty] | Stdev | 0.42817
| 0.82677 | inches swe |  | 0.82677 |  |  |  |  | Variance | 0.18333
| Proposed Adjustment | 2.3232 | inches swe |  | Sensor/ actual (percent of true) | 26.25%
|  | 59.01 | mm SWE

## 012816
Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
1 | 44 | 39.5 |  | 44 | 15 | 1.5 | 13.5 | 30.68%
2 | 45.5 | 44 |  | 45.5 | 16 | 1.5 | 14.5 | 31.87%
3 | 46.5 | 42.5 |  | 46.5 | 16 | 1.5 | 14.5 | 31.18%
4 | 47 | 36.5 |  | 47 | 15 | 1.5 | 13.5 | 28.72%
5 | 45 | 43 |  | 45 | 16 | 1.5 | 14.5 | 32.22%
6 | 46.5 | 43.5 |  | 46.5 | 16 | 1.5 | 14.5 | 31.18%
7 | 44 | 39 |  | 44 | 14 | 1.5 | 12.5 | 28.41%
8 | 43.5 | 38.5 |  | 43.5 | 13.5 | 1.5 | 12 | 27.59%
9 | 47 | 41 |  | 47 | 15 | 1.5 | 13.5 | 28.72%
10 | 48 | 42.5 |  | 48 | 16.5 | 1.5 | 15 | 31.25%
Mean | 45.7 | 41 | 0 | 45.7 | 15.3 | 1.5 | 13.8 | 30.18%
[9 empty] | Mean | 13.8
| Sensor reporting 7.99" and 8.35" on 1/28/16 | [7 empty] | Stdev | 0.97753
| 8.17 | inches swe |  | 0.82677 |  |  |  |  | Variance | 0.95556
| Divergence/adjustment | 5.63 | inches swe |  | Sensor/ actual (percent of true) | 59.2%
|  | 143.002 | mm SWE

## 022416
| Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 46 | 36 |  | 46 | 16 | 1.5 | 14.5 | 31.52%
| 2 | 42 | 38 |  | 42 | 16.5 | 1.5 | 15 | 35.71%
| 3 | 39 | 37 |  | 39 | 15.5 | 1.5 | 14 | 35.9%
| 4 | 42 | 41 |  | 42 | 17 | 1.5 | 15.5 | 36.9%
| 5 | 45.5 | 42.5 |  | 45.5 | 18 | 1.5 | 16.5 | 36.26%
6
7
8
9
10
| Mean | 42.9 | 38.9 | 0 | 42.9 | 16.6 | 1.5 | 15.1 | 35.26%
[10 empty] | Mean | 15.1 | 38.354
|  | Sensor reporting 240 and 201mm on 2/24/16 | [7 empty] | Stdev | 0.96177
Sensor K | 239 | 9.4094 | inches swe | [6 empty] | Variance | 0.925
Sensor Tl | 224 | 8.8189 | inches swe
|  | Divergence/adjustment | 5.6906 | inches swe |  | Sensor/ actual (percent of true) | 62.31%
|  |  | 144.54 | mm SWE
Depth on sensor | 1.157 | 45.5512
Soil moisture observed 21%

## 33116
| Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 39.5 | 38 | 2 | 37.5 | 16.5 | 1.5 | 15 | 40%
| 2 | 36.5 | 35.5 | 2 | 34.5 | 16 | 1.5 | 14.5 | 42.03%
| 3 | 37 | 34 | 0 | 37 | 16.5 | 1.5 | 15 | 40.54%
| 4 | 39 | 38 | 1.5 | 37.5 | 17 | 1.5 | 15.5 | 41.33%
| 5 | 40.5 | 39 | 0 | 40.5 | 18 | 1.5 | 16.5 | 40.74%
| 6 | 46 | 44.5 | 2 | 44 | 17.5 | 1.5 | 16 | 36.36%
| 7 | 46.5 | 43.5 | 2 | 44.5 | 21 | 1.5 | 19.5 | 43.82%
| 8 | 43 | 39.5 | 1 | 42 | 17.5 | 1.5 | 16 | 38.1%
| 9 | 41 | 39 | 0.5 | 40.5 | 20.5 | 1.5 | 19 | 46.91%
| 10 | 38.5 | 37 | 1 | 37.5 | 17 | 1.5 | 15.5 | 41.33%
| Mean | 40.75 | 38.8 | 1.2 | 39.55 | 17.75 | 1.5 | 16.25 | 41.12%
[10 empty] | Mean | 15.3
[10 empty] | Stdev | 0.75829
Sensor K | 379 | 14.9213 | inches swe | [6 empty] | Variance | 0.575
Sensor Tl | 377 | 14.8425 | inches swe
|  | Divergence/adjustment | 1.3287 | inches swe |  | Sensor/ actual (percent of true) | 91.82%
|  |  | 33.75 | mm SWE
Depth on sensor | 1.058 | 41.6535

## 113016
| Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 7 | 6 |  | 7 | 3.5 | 1.5 | 2 | 28.57%
| 1 | 7 | 7 |  | 7 | 4 | 1.5 | 2.5 | 35.71%
| 2 | 7 | 5 |  | 7 | 3.5 | 1.5 | 2 | 28.57%
| 2 | 6 | 5 |  | 6 | 3.5 | 1.5 | 2 | 33.33%
| 3 | 6.5 | 5.5 |  | 6.5 | 3.5 | 2 | 1.5 | 23.08%
| 3 | 6.5 | 5.5 |  | 6.5 | 3.5 | 2 | 1.5 | 23.08%
| 4 | 7 | 6 |  | 7 | 3.5 | 2 | 1.5 | 21.43%
| 5 | 6.5 | 4.5 |  | 6.5 | 3.5 | 2 | 1.5 | 23.08%
| 6 | 8 | 6.5 |  | 8 | 4 | 2 | 2 | 25%
| Mean | 6.15 | 5.1 | 0 | 6.15 | 3.25 | 1.6 | 1.65 | 24.18%
[10 empty] | Mean | 1.8333
| mm swe | inch swe |  | Before the CS 725 was recalibrated | [5 empty] | Stdev | 0.35355
Sensor K | 26 | 1.0236 | inches swe | [6 empty] | Variance | 0.125
Sensor Tl | 22 | 0.86614 | inches swe
Avg SWE | 24 | 0.94488
|  | Divergence/adjustment | 0.70512 | inches SWE reading low |  | Sensor/ actual (percent of true) | 62.04%
|  |  | 17.91 | mm SWE reading low |  |  | -42.73%
| m | in
Depth on sensor | 0.2 | 7.874

## 122216
| Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 6a | 24.5 | 15 | 0 | 24.5 | 7.5 | 3 | 4.5 | 18.37%
| 6b | 24.5 | 19.5 | 0 | 24.5 | 7.5 | 3 | 4.5 | 18.37%
| 5a | 24.5 | 22.5 | 0 | 24.5 | 8 | 3 | 5 | 20.41%
| 5b | 23 | 21.5 | 1 | 22 | 8 | 3 | 5 | 22.73%
| 4a | 22 | 20 | 0 | 22 | 8 | 3 | 5 | 22.73%
| 4b | 22 | 19 | 0 | 22 | 8 | 3 | 5 | 22.73%
| 3a | 22.5 | 19 | 0 | 22.5 | 10 | 4 | 6 | 26.67%
| 3b | 21 | 19.5 | 0 | 21 | 8 | 3.5 | 4.5 | 21.43%
| 2a | 23.5 | 19 | 0 | 23.5 | 8.5 | 3.5 | 5 | 21.28%
| 2b | 22.5 | 20 | 0 | 22.5 | 8.5 | 3.5 | 5 | 22.22%
| 1a | 22.5 | 18.5 | 0 | 22.5 | 8 | 3 | 5 | 22.22%
| 1b | 23 | 20.5 | 1 | 22 | 8 | 3.5 | 4.5 | 20.45%
| Mean | 22.9583 | 19.5 | 0.16667 | 22.7917 | 8.1667 | 3.25 | 4.9167 | 21.63%
[10 empty] | Mean | 4.9444
| mm | Inch | [7 empty] | Stdev | 0.46398
Sensor K | 130 | 5.1181 | [7 empty] | Variance | 0.21528
Sensor Tl | 122 | 4.8031
Avg SWE | 126 | 4.9606
|  | Divergence/adjustment | -0.043963 | inches SWE reading low |  | Sensor/ actual (percent of true) | 104.1%
|  |  | -1.1167 | mm SWE reading low |  | "+/- (difference over observed) | 0.8942%
Accoustic | m | in
Depth on sensor | 0.57 | 22.4409

## 12017
TAB sampled 12017 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
6a
6b
| 5a | 51.5 | 50.5 | 0 | 51.5 | 16 | 2.5 | 13.5 | 26.21%
| 5b | 53 | 50.5 | 0 | 53 | 15.5 | 2.5 | 13 | 24.53%
| 4a | 53 | 48.5 | 0 | 53 | 15.5 | 2.5 | 13 | 24.53%
| 4b | 53 | 52 | 0 | 53 | 16.5 | 2.5 | 14 | 26.42%
| 3a | 53 | 42 | 0 | 53 | 15 | 2.5 | 12.5 | 23.58%
| 3b | 53 | 44 | 0 | 53 | 15.5 | 2.5 | 13 | 24.53%
| 2a | 56 | 48 | 0 | 56 | 16.5 | 2.5 | 14 | 25%
| 2b | 56.5 | 47 | 0 | 56.5 | 17 | 2.5 | 14.5 | 25.66%
| 1a | 52.5 | 52 | 0 | 52.5 | 17 | 2.5 | 14.5 | 27.62%
| 1b | 53.5 | 51 | 0 | 53.5 | 17 | 2.5 | 14.5 | 27.1%
| Mean | 53.5 | 48.55 | 0 | 53.5 | 16.15 | 2.5 | 13.65 | 25.52%
1.3589
[8 empty] | Mean | 13.65
| mm | Inch | [5 empty] | Stdev | 0.74722
Sensor K | 327 | 12.874 | [5 empty] | Variance | 0.55833
Sensor Tl | 309 | 12.1654
Avg SWE | 318 | 12.5197
|  | Divergence/adjustment | 1.1303 | inches SWE reading low |  | Sensor/ actual (percent of true) | 94.32%
|  |  | 28.71 | mm SWE reading low |  | "+/- (difference over observed) | -8.281%
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.18 | 46.4567 | 7.0433
maxed out underreporting

## 021017
TAB sampled 021017 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 48 | 40.5 |  |  | 34 | 18 | 16 | 33.33%
| 1 | 47 | 37 |  |  | 36 | 18 | 18 | 38.3%
| 2 | 49 | 46 |  |  | 34.5 | 18 | 16.5 | 33.67%
| 2 | 47.5 | 42 |  |  | 34.5 | 18 | 16.5 | 34.74%
| 3 | 49 | 48.5 |  |  | 34 | 18 | 16 | 32.65%
| 3 | 50 | 48 |  |  | 35.5 | 18.5 | 17 | 34%
| 4 | 50 | 46.5 |  |  | 35 | 18.5 | 16.5 | 33%
| 4 | 47.5 | 45.5 |  |  | 34 | 18.5 | 15.5 | 32.63%
| 5 | 45 | 42 |  |  | 33 | 18.5 | 14.5 | 32.22%
| 5 | 47 | 45 |  |  | 34 | 18.5 | 15.5 | 32.98%
| Mean | 48 | 44.1 | 0 |  | 18.25 | 18.25 | 16.2 | 33.75%
1.2192
| mm | Inch
Sensor K | 327 | 15.16
Sensor Tl | 309 | 13.54
Avg SWE | 318 | 14.35
|  | Divergence/adjustment | 1.85 | inches SWE reading low |  | Sensor/ actual (percent of true) | 93.58% |  | Mean | 16.2
|  |  | 46.99 | mm SWE reading low |  | "+/- (difference over observed) | -11.42% |  | Stdev | 0.94868
[9 empty] | Variance | 0.9
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.23 | 48.4252 | -0.4252
Observed with ruler |  | 47.5

## 030217
TAB sampled 030217 1 pm | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
there was a very dense layer at 12-14" that was hard to sample through, resulting in few good cores
| 1 | 61 | 56 |  |  | 38.5 | 17 | 21.5 | 35.25%
| 1 | 60 | 55 |  |  | 38.5 | 17 | 21.5 | 35.83%
| 2 | 62
2
3
| 3 | 62 | 50 |  |  | 35.5 | 18.5 | 17 | 27.42%
| 4 | 55 | 52 |  |  | 36 | 18.5 | 17.5 | 31.82%
4
| 5 | 62 | 55 |  |  | 37 | 19 | 18 | 29.03%
| 5 | 61 | 50 |  |  | 36 | 19 | 17 | 27.87%
| Mean | 60.4286 | 53 | 0 |  | 36.9167 | 18.1667 | 18.75 | 31.2%
1.5349
| mm | Inch
Sensor K | 428 | 16.8504
Sensor Tl | 394 | 15.5118
Avg SWE | 411 | 16.1811
|  | Divergence/adjustment | 2.5689 | inches SWE reading low |  | Sensor/ actual (percent of true) | 89.87% |  | Mean | 18.75
|  |  | 65.25 | mm SWE reading low |  | "+/- (difference over observed) | -13.7% |  | Stdev | 2.1622
[9 empty] | Variance | 4.675
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.46 | 57.4803 | 2.9483
Observed with ruler |  | 58.5

## 050117
TAB and ES sampled 050117 9am | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
s
| 1 | 19.5 | 16 | 1 | 18.5 | 28 | 22.5 | 5.5 | 29.73%
| 1 | 14.5 | 14.5 | 0 | 14.5 | 27 | 22 | 5 | 34.48%
| 2 | 15.5 | 13 | 0.5 | 15 | 27 | 22 | 5 | 33.33%
| 2 | 14.5 | 15 | 2 | 12.5 | 27 | 22 | 5 | 40%
| 3 | 26.5 | 25.5 | 0.5 | 26 | 32 | 22 | 10 | 38.46%
| 3 | 27 | 26.5 | 1 | 26 | 33 | 22 | 11 | 42.31%
| 4 | 34 | 33.5 | 2.5 | 31.5 | 37 | 21 | 16 | 50.79%
| 4 | 33 | 33 | 1 | 32 | 36 | 21 | 15 | 46.88%
| 5 | 31.5 | 30 | 0.5 | 31 | 36 | 22 | 14 | 45.16%
| 5 | 30.5 | 30 | 0 | 30.5 | 35.5 | 22 | 13.5 | 44.26%
| 6 | 27 | 27 | 1 | 26 | 33 | 22 | 11 | 42.31%
| 6 | 27 | 26.5 | 0.5 | 26.5 | 33 | 22 | 11 | 41.51%
| Mean | 25.0417 | 24.2083 | 0.875 | 24.1667 | 32.0417 | 21.875 | 10.1667 | 40.77%
0.63606
| mm | Inch
Sensor K | 185 | 7.2835
Sensor Tl | 180 | 7.0866
Avg SWE | 182.5 | 7.185
Divergence/adjustment | 2.9816 | inches SWE reading low |  | Sensor/ actual (percent of true) | 71.64% |  |  |  | Mean | 10
| 75.7333 | mm SWE reading low |  | "+/- (difference over observed) | -29.33% |  |  |  | Stdev | 4.5399
[9 empty] | Variance | 20.6111
Accoustic | m | in | under-reporting by (in)
Depth on sensor |  | 20.4 | 4.6417
Observed with ruler |  | 19.5
There were large melt out features developing below the tripods and thermocouple ladder posts that could have influenced the snow tube SWE differently than the CS 725 observation

## 121417
TAB andsampled 121417 12 noon | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
s
| 1 | 8 | 7 | 0.5 | 7.5 | 4.25 | 2.5 | 1.75 | 23.33%
| 1 | 7 | 5.5 | 0.5 | 6.5 | 4 | 2.5 | 1.5 | 23.08%
| 2 | 9.5 | 9.5 | 1 | 8.5 | 4.5 | 2.5 | 2 | 23.53%
| 2 | 8.5 | 7.5 | 0.5 | 8 | 4.5 | 2.5 | 2 | 25%
| 3 | 5.5 | 5.5 | 0.25 | 5.25 | 4 | 2.5 | 1.5 | 28.57%
| 3 | 6 | 5.5 | 0 | 6 | 4 | 2.5 | 1.5 | 25%
| 4 | 5.5 | 5 | 0 | 5.5 | 4 | 2.75 | 1.25 | 22.73%
| 4 | 5.5 | 5.5 | 0.5 | 5 | 4 | 2.75 | 1.25 | 25%
| 5 | 6.75 | 6 | 0.25 | 6.5 | 4 | 2.75 | 1.25 | 19.23%
| 5 | 7.25 | 6.5 | 0.25 | 7 | 4 | 2.75 | 1.25 | 17.86%
| 6 | 7 | 6 | 1 | 6 | 4.25 | 2.75 | 1.5 | 25%
| 6 | 6 | 4.5 | 0.5 | 5.5 | 4 | 2.75 | 1.25 | 22.73%
| Mean | 6.875 | 6.1667 | 0.4375 | 6.4375 | 4.125 | 2.625 | 1.5 | 23.42%
0.17463
| mm | Inch
Sensor K | 36 | 1.4173
Sensor Tl | 34 | 1.3386
Avg SWE | 35 | 1.378
Divergence/adjustment | 0.12205 | inches SWE reading low |  | Sensor/ actual (percent of true) | 94.49% |  |  |  | Mean | 1.525
| 3.1 | mm SWE reading low |  | "+/- (difference over observed) | -8.136% |  |  |  | Stdev | 0.2993
[9 empty] | Variance | 0.089583
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.167 | 6.5748 | 0.3002
Observed with ruler |  | 6.3

## 011118
TAB and sampled 011118 3:30pm | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 15.5 | 15.5 | 0.5 | 15 | 6.5 | 2.5 | 4 | 26.67%
| 1 | 15.5 | 15 | 0 | 15.5 | 6.5 | 2.5 | 4 | 25.81%
| 2 | 17.5 | 16.5 | 1 | 16.5 | 7 | 2.5 | 4.5 | 27.27%
| 2 | 17 | 14.5 | 0.5 | 16.5 | 6.5 | 2.5 | 4 | 24.24%
| 3 | 16 | 14 | 0.5 | 15.5 | 6 | 2.5 | 3.5 | 22.58%
| 3 | 15.5 | 14 | 0.5 | 15 | 6 | 2.5 | 3.5 | 23.33%
| 4 | 16 | 14 | 0 | 16 | 6 | 2.5 | 3.5 | 21.88%
| 4 | 17 | 15 | 0 | 17 | 6.5 | 2.5 | 4 | 23.53%
| 5 | 15 | 12 | 1 | 14 | 5.5 | 2.5 | 3 | 21.43%
| 5 | 15 | 14 | 0 | 15 | 6 | 2.5 | 3.5 | 23.33%
| 6 | 16 | 16 | 0.5 | 15.5 | 6 | 2.5 | 3.5 | 22.58%
| 6 | 15.5 | 15 | 0.5 | 15 | 6 | 2.5 | 3.5 | 23.33%
| Mean | 15.9583 | 14.625 | 0.41667 | 15.5417 | 6.2083 | 2.5 | 3.7083 | 23.83%
0.40534
| mm | Inch
Sensor K | 90 | 3.5433
Sensor Tl | 84 | 3.3071
Avg SWE | 87 | 3.4252
Divergence/adjustment | 0.28314 | inches SWE reading low |  | Sensor/ actual (percent of true) | 95.55% |  |  |  | Mean | 3.75
| 7.1917 | mm SWE reading low |  | "+/- (difference over observed) | -7.635% |  |  |  | Stdev | 0.42492
[9 empty] | Variance | 0.18056
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.33 | 12.9921 | 2.5495
Observed with ruler

## 020118
TAB 2/1/18 11:36 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 28 | 24.5 | 0 | 28 | 10.5 | 2.5 | 8 | 28.57%
| 1 | 28 | 26.5 | 0.5 | 27.5 | 10.5 | 2.5 | 8 | 29.09%
| 2 | 28 | 25.5 | 0 | 28 | 10.5 | 2.5 | 8 | 28.57%
| 2 | 29 | 27.5 | 0.5 | 28.5 | 10.5 | 2.5 | 8 | 28.07%
| 3 | 25.5 | 24 | 0.5 | 25 | 10 | 2.5 | 7.5 | 30%
| 3 | 26.5 | 25 | 1 | 25.5 | 10 | 2.5 | 7.5 | 29.41%
| 4 | 26 | 24.5 | 0 | 26 | 10 | 2.5 | 7.5 | 28.85%
| 4 | 27 | 26 | 1 | 26 | 10 | 2.5 | 7.5 | 28.85%
| 5 | 28 | 25 | 0 | 28 | 10 | 2.5 | 7.5 | 26.79%
| 5 | 27.5 | 25.5 | 0.5 | 27 | 9.5 | 2.5 | 7 | 25.93%
| 6 | 25.5 | 24.5 | 0 | 25.5 | 9.5 | 2.5 | 7 | 27.45%
| 6 | 27.5 | 26 | 1 | 26.5 | 10 | 2.5 | 7.5 | 28.3%
| Mean | 27.2083 | 25.375 | 0.41667 | 26.7917 | 10.0833 | 2.5 | 7.5833 | 28.32%
0.69109
| mm | Inch
Sensor K | 179 | 7.0472
Sensor Tl | 171 | 6.7323
Avg SWE | 175 | 6.8898
Divergence/adjustment | 0.69357 | inches SWE reading low |  | Sensor/ actual (percent of true) | 92.93% |  |  |  | Mean | 7.5833
| 17.6167 | mm SWE reading low |  | "+/- (difference over observed) | -9.146% |  |  |  | Stdev | 0.35887
[9 empty] | Variance | 0.12879
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.642 | 25.2756 | 1.5161
Observed with ruler

## 022118
TAB and Josh Kissel sampled 022118 4:00pm | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 26.5 | 24 | 0.33 | 26.17 | 9.5 | 2.5 | 7 | 26.75%
| 1 | 27 | 24.5 | 0 | 27 | 9.5 | 2.5 | 7 | 25.93%
| 2 | 28 | 22.5 | 0.25 | 27.75 | 10 | 2.5 | 7.5 | 27.03%
| 2 | 28.5 | 24.5 | 0.5 | 28 | 10 | 2.5 | 7.5 | 26.79%
| 3 | 24 | 20.5 | 0.5 | 23.5 | 9.5 | 2.5 | 7 | 29.79%
| 3 | 26 | 23.5 | 1 | 25 | 9 | 2.5 | 6.5 | 26%
| 4 | 27 | 26 | 0.5 | 26.5 | 9.5 | 2.5 | 7 | 26.42%
| 4 | 28 | 25.5 | 1 | 27 | 10 | 2.5 | 7.5 | 27.78%
| 5 | 29.5 | 25 | 0 | 29.5 | 10 | 2.5 | 7.5 | 25.42%
| 5 | 30 | 27 | 0.5 | 29.5 | 10 | 2.5 | 7.5 | 25.42%
| 6 | 28 | 24 | 0.5 | 27.5 | 9.5 | 2.5 | 7 | 25.45%
| 6 | 26.5 | 23.5 | 0.5 | 26 | 9.5 | 2.5 | 7 | 26.92%
| Mean | 27.4167 | 24.2083 | 0.465 | 26.9517 | 9.6667 | 2.5 | 7.1667 | 26.64%
0.69638
| mm | Inch
Sensor K | 185 | 7.2835
Sensor Tl | 177 | 6.9685
Avg SWE | 181 | 7.126
Divergence/adjustment | 0.040682 | inches SWE reading low |  | Sensor/ actual (percent of true) | 101.6% |  |  |  | Mean | 7.2
| 1.0333 | mm SWE reading low |  | "+/- (difference over observed) | -0.5677% |  |  |  | Stdev | 0.3496
[9 empty] | Variance | 0.12222
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.66 | 25.9843 | 0.96741
Observed with ruler

## 030818
TAB asampled 030818 3:30pm | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 37.5 | 32 | 0.5 | 37 | 12 | 2.5 | 9.5 | 25.68%
| 1 | 38 | 33 | 0 | 38 | 13 | 2.5 | 10.5 | 27.63%
| 2 | 39 | 32.5 | 1 | 38 | 13 | 2.5 | 10.5 | 27.63%
| 2 | 38 | 35 | 1 | 37 | 13.5 | 2.5 | 11 | 29.73%
| 3 | 35 | 30 | 0 | 35 | 12 | 2.5 | 9.5 | 27.14%
| 3 | 37.5 | 35 | 1 | 36.5 | 13 | 2.5 | 10.5 | 28.77%
| 4 | 37.5 | 32.5 | 0 | 37.5 | 13.5 | 2.5 | 11 | 29.33%
| 4 | 37.5 | 33 | 0 | 37.5 | 13 | 2.5 | 10.5 | 28%
| 5 | 40.5 | 35 | 0 | 40.5 | 13.5 | 2.5 | 11 | 27.16%
| 5 | 40 | 35.5 | 0 | 40 | 13.5 | 2.5 | 11 | 27.5%
| 6 | 36 | 34.5 | 0 | 36 | 13 | 2.5 | 10.5 | 29.17%
| 6 | 37 | 31 | 0 | 37 | 13 | 2.5 | 10.5 | 28.38%
| Mean | 37.7917 | 33.25 | 0.29167 | 37.5 | 13 | 2.5 | 10.5 | 28.01%
0.95991
| mm | Inch
Sensor K | 260.604 | 10.26
Sensor Tl | 253.492 | 9.98
Avg SWE | 257.048 | 10.12
Divergence/adjustment | 0.38 | inches SWE reading low |  | Sensor/ actual (percent of true) | 97.71% |  |  |  | Mean | 10.5
| 9.652 | mm SWE reading low |  | "+/- (difference over observed) | -3.619% |  |  |  | Stdev | 0.57735
[9 empty] | Variance | 0.33333
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.90932 | 35.8 | 1.7
Observed with ruler

## 031918
TAB asampled 031918 12:45 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 37.5 | 32 | 0.5 | 37 | 12 | 2.5 | 9.5 | 25.68%
| 1 | 38 | 33 | 0 | 38 | 13 | 2.5 | 10.5 | 27.63%
| 2 | 39 | 32.5 | 1 | 38 | 13 | 2.5 | 10.5 | 27.63%
| 2 | 38 | 35 | 1 | 37 | 13.5 | 2.5 | 11 | 29.73%
| 3 | 35 | 30 | 0 | 35 | 12 | 2.5 | 9.5 | 27.14%
| 3 | 37.5 | 35 | 1 | 36.5 | 13 | 2.5 | 10.5 | 28.77%
| 4 | 37.5 | 32.5 | 0 | 37.5 | 13.5 | 2.5 | 11 | 29.33%
| 4 | 37.5 | 33 | 0 | 37.5 | 13 | 2.5 | 10.5 | 28%
| 5 | 40.5 | 35 | 0 | 40.5 | 13.5 | 2.5 | 11 | 27.16%
| 5 | 40 | 35.5 | 0 | 40 | 13.5 | 2.5 | 11 | 27.5%
| 6 | 36 | 34.5 | 0 | 36 | 13 | 2.5 | 10.5 | 29.17%
| 6 | 37 | 31 | 0 | 37 | 13 | 2.5 | 10.5 | 28.38%
| Mean | 37.7917 | 33.25 | 0.29167 | 37.5 | 13 | 2.5 | 10.5 | 28.01%
0.95991
| mm | Inch
Sensor K | 260.604 | 10.26
Sensor Tl | 253.492 | 9.98
Avg SWE | 257.048 | 10.12
Divergence/adjustment | 0.38 | inches SWE reading low |  | Sensor/ actual (percent of true) | 97.71% |  |  |  | Mean | 10.5
| 9.652 | mm SWE reading low |  | "+/- (difference over observed) | -3.619% |  |  |  | Stdev | 0.57735
[9 empty] | Variance | 0.33333
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.90932 | 35.8 | 1.7
Observed with ruler
[5 empty] | 66.6667 | 2.4691

## 041318
TAB asampled 041318 12:00 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 26 | 21 | 0 | 26 | 11 | 2.5 | 8.5 | 32.69%
| 1 | 27 | 20 | 0.5 | 26.5 | 10.5 | 2.5 | 8 | 30.19%
| 2 | 24.5 | 23 | 0.5 | 24 | 11 | 2.5 | 8.5 | 35.42%
| 2 | 26 | 23 | 0.5 | 25.5 | 10.5 | 2.5 | 8 | 31.37%
| 3 | 22 | 19 | 1 | 21 | 11 | 2.5 | 8.5 | 40.48%
| 3 | 22 | 19 | 0.5 | 21.5 | 10 | 2.5 | 7.5 | 34.88%
| 4 | 33 | 30 | 1 | 32 | 12 | 2.5 | 9.5 | 29.69%
| 4 | 31 | 27 | 1 | 30 | 12 | 2.5 | 9.5 | 31.67%
| 5 | 29 | 25 | 1 | 28 | 11.5 | 2.5 | 9 | 32.14%
| 5 | 27 | 23 | 1 | 26 | 10.5 | 2.5 | 8 | 30.77%
| 6 | 28 | 22 | 1 | 27 | 11 | 2.5 | 8.5 | 31.48%
| 6 | 31 | 25 | 1.5 | 29.5 | 12 | 2.5 | 9.5 | 32.2%
| Mean | 27.2083 | 23.0833 | 0.79167 | 26.4167 | 11.0833 | 2.5 | 8.5833 | 32.75%
0.69109
| mm | Inch
Sensor K | 225.044 | 8.86
Sensor Tl | 201.93 | 7.95
Avg SWE | 213.487 | 8.405
Divergence/adjustment | 0.17833 | inches SWE reading low |  | Sensor/ actual (percent of true) | 103.2% |  |  |  | Mean | 8.5
| 4.5297 | mm SWE reading low |  | "+/- (difference over observed) | -2.078% |  |  |  | Stdev | 0.66667
[9 empty] | Variance | 0.44444
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.6604 | 26 | 0.41667
Observed with ruler | 27.6667
[5 empty] | 66.6667 | 2.4691

## 121118
TAB asampled 121118 1130 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 17.5 | 16.5 | 0 | 17.5 | 6.5 | 3 | 3.5 | 20%
| 1 | 15.5 | 15 | 0 | 15.5 | 6 | 3 | 3 | 19.35%
| 2 | 17.5 | 17 | 0.5 | 17 | 7 | 3 | 4 | 23.53%
| 2 | 17 | 16 | 0.5 | 16.5 | 6.5 | 2.5 | 4 | 24.24%
| 3 | 16 | 16 | 0 | 16 | 6.5 | 2.5 | 4 | 25%
| 3 | 16 | 16 | 0 | 16 | 6.5 | 2.5 | 4 | 25%
| 4 | 16.5 | 16.5 | 0 | 16.5 | 6 | 2.5 | 3.5 | 21.21%
| 4 | 16 | 16 | 0.5 | 15.5 | 6 | 2.5 | 3.5 | 22.58%
| 5 | 17 | 16.5 | 0.5 | 16.5 | 6.5 | 2.5 | 4 | 24.24%
| 5 | 17 | 16.5 | 0.5 | 16.5 | 6 | 2.5 | 3.5 | 21.21%
| 6 | 17 | 16 | 1 | 16 | 6.5 | 2.5 | 4 | 25%
| 6 | 17 | 16.5 | 0 | 17 | 6 | 2.5 | 3.5 | 20.59%
| Mean | 16.6667 | 16.2083 | 0.29167 | 16.375 | 6.3333 | 2.625 | 3.7083 | 22.66%
0.42333
| mm | Inch
Sensor K | 97 | 3.8189
Sensor Tl | 88 | 3.4646
Avg SWE | 92.5 | 3.6417
Divergence/adjustment | 0.066601 | inches SWE reading low |  | Sensor/ actual (percent of true) | 103% |  |  |  | Mean | 3.7
| 1.6917 | mm SWE reading low |  | "+/- (difference over observed) | -1.796% |  |  |  | Stdev | 0.3496
[9 empty] | Variance | 0.12222
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.383 | 15.0787 | 1.2963
Observed with ruler | 15.6667
[5 empty] | 66.6667 | 2.4691

## 12319
TAB asampled 012319 15:00 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 34 | 32 | 0.5 | 33.5 | 12.5 | 2.5 | 10 | 29.85%
| 1 | 33 | 29 | 0 | 33 | 13 | 2.5 | 10.5 | 31.82%
| 2 | 35 | 31 | 1 | 34 | 13 | 3 | 10 | 29.41%
| 2 | 33 | 30 | 0.5 | 32.5 | 13.5 | 2.5 | 11 | 33.85%
| 3 | 33.5 | 30.5 | 0.5 | 33 | 12.5 | 2.5 | 10 | 30.3%
| 3 | 32 | 28 | 1 | 31 | 12 | 2.5 | 9.5 | 30.65%
| 4 | 34 | 31 | 0.5 | 33.5 | 12.5 | 2.5 | 10 | 29.85%
| 4 | 32.5 | 28 | 0 | 32.5 | 12 | 2.5 | 9.5 | 29.23%
| 5 | 34 | 30 | 0 | 34 | 12.5 | 2.5 | 10 | 29.41%
| 5 | 34.5 | 30.5 | 0.5 | 34 | 12.5 | 2.5 | 10 | 29.41%
| 6 | 33.5 | 29 | 1 | 32.5 | 12 | 2.5 | 9.5 | 29.23%
| 6 | 33 | 29 | 0 | 33 | 11.5 | 2.5 | 9 | 27.27%
| Mean | 33.5 | 29.8333 | 0.45833 | 33.0417 | 12.4583 | 2.5417 | 9.9167 | 30.02%
0.8509
| mm | Inch
Sensor K | 230 | 9.0551
Sensor Tl | 218 | 8.5827
Avg SWE | 224 | 8.8189
Divergence/adjustment | 1.0978 | inches SWE reading low |  | Sensor/ actual (percent of true) | 91.31% |  |  |  | Mean | 10.05
| 27.8833 | mm SWE reading low |  | "+/- (difference over observed) | -11.07% |  |  |  | Stdev | 0.4378
[9 empty] | Variance | 0.19167
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.793 | 31.2205 | 1.8212
Observed with ruler | 32.125
[5 empty] | 66.6667 | 2.4691

## 21519
TAB asampled 021519 13:30 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 69 | 59 | 0 | 69 | 36 | 18.5 | 17.5 | 25.36%
| 1 | 67.5 | 56.5 | 0 | 67.5 | 36 | 18.5 | 17.5 | 25.93%
| 2 | 69 | 65.5 | 1.5 | 67.5 | 36.5 | 18.5 | 18 | 26.67%
| 2 | 69 | 60 | 1 | 68 | 36.5 | 18.5 | 18 | 26.47%
| 3 | 68 | 60 | 0.5 | 67.5 | 36.5 | 18.5 | 18 | 26.67%
| 3 | 69 | 56.5 | 1 | 68 | 36.5 | 18.5 | 18 | 26.47%
| 4 | 66.5 | 47.5 | 0.5 | 66 | 35 | 18 | 17 | 25.76%
| 4 | 68 | 47 | 0 | 68 | 34.5 | 18 | 16.5 | 24.26%
| 5 | 69 | 53 | 0.5 | 68.5 | 35.5 | 18 | 17.5 | 25.55%
| 5 | 70 | 52 | 0 | 70 | 35 | 18 | 17 | 24.29%
| 6 | 68 | 60 | 0 | 68 | 36 | 18 | 18 | 26.47%
| 6 | 68 | 54 | 0 | 68 | 35 | 18 | 17 | 25%
| Mean | 68.4167 | 55.9167 | 0.41667 | 68 | 35.75 | 18.25 | 17.5 | 25.74%
1.7378
| mm | Inch
Sensor K | 389.89 | 15.35
Sensor Tl | 358.902 | 14.13
Avg SWE | 374.396 | 14.74
Divergence/adjustment | 2.76 | inches SWE reading low |  | Sensor/ actual (percent of true) | 87.71% |  |  |  | Mean | 17.5
| 70.104 | mm SWE reading low |  | "+/- (difference over observed) | -15.77% |  |  |  | Stdev | 0.52705
[9 empty] | Variance | 0.27778
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.4859 | 58.5 | 9.5
Observed with ruler | na
[5 empty] | 66.6667 | 2.4691

## 22519
TAB asampled 022519 14:20 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
The depth sensor and the SWE sensor were buried by snow last week so they are not recording the full depth
| 1 | 84 | 66 | 0 | 84 | 41 | 20 | 21 | 25%
| 1 | 84 | 73 | 0.5 | 83.5 | 40 | 20 | 20 | 23.95%
| 2 | 84 | 70 | 1 | 83 | 39.5 | 20 | 19.5 | 23.49%
| 2 | 84 | 77 | 2 | 82 | 41 | 20 | 21 | 25.61%
| 3 | 86 | 61 | 2 | 84 | 39 | 20 | 19 | 22.62%
| 3 | 87 | 77.5 | 1.5 | 85.5 | 41 | 20 | 21 | 24.56%
| 4 | 86 | 59 | 0 | 86 | 41 | 20 | 21 | 24.42%
| 4 | 85 | 67 | 0.5 | 84.5 | 41 | 20 | 21 | 24.85%
| 5 | 85.5 | 68 | 0.5 | 85 | 40 | 19 | 21 | 24.71%
| 5 | 86.5 | 71.5 | 0 | 86.5 | 40.5 | 19 | 21.5 | 24.86%
| 6 | 83 | 71.5 | 1 | 82 | 41 | 19 | 22 | 26.83%
| 6 | 84 | 70 | 0 | 84 | 41.5 | 19 | 22.5 | 26.79%
| Mean | 84.9167 | 69.2917 | 0.75 | 84.1667 | 40.5417 | 19.6667 | 20.875 | 24.81%
2.1569
| mm | Inch
Sensor K | na
Sensor Tl | na
Avg SWE | na
Divergence/adjustment | 20.875 | inches SWE reading low |  | Sensor/ actual (percent of true) | 0% |  |  |  | Mean | 20.6
| 530.225 | mm SWE reading low |  | "+/- (difference over observed) | -100% |  |  |  | Stdev | 0.80966
[9 empty] | Variance | 0.65556
Accoustic | m | in | under-reporting by (in)
Depth on sensor | #VALUE! | na | #VALUE! | We moved up the depth sensor so it would be working 2/26/19
Observed with ruler | na

## 032919
TAB asampled 032919 1330 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
The depth sensor and the SWE sensor were buried by snow last week so they are not recording the full depth
| 1 | 67 | 60 | 1 | 66 | 42 | 18.5 | 23.5 | 35.61%
| 1 | 68 | 61 | 1 | 67 | 45 | 18.5 | 26.5 | 39.55%
| 2 | 65 | 58 | 1 | 64 | 42.5 | 18.5 | 24 | 37.5%
| 2 | 65.5 | 59 | 0.5 | 65 | 42.5 | 18.5 | 24 | 36.92%
| 3 | 66 | 54 | 0.5 | 65.5 | 40 | 18.5 | 21.5 | 32.82%
| 3 | 66 | 63 | 0 | 66 | 42.5 | 18.5 | 24 | 36.36%
| 4 | 68 | 61 | 0.5 | 67.5 | 43 | 18.5 | 24.5 | 36.3%
| 4 | 69.5 | 67 | 1 | 68.5 | 44 | 19 | 25 | 36.5%
| 5 | 68.5 | 64 | 1 | 67.5 | 46 | 19 | 27 | 40%
| 5 | 71 | 62 | 1 | 70 | 45 | 19 | 26 | 37.14%
| 6 | 68 | 60 | 0.5 | 67.5 | 41.5 | 19 | 22.5 | 33.33%
| 6 | 67 | 54 | 0.5 | 66.5 | 42.5 | 19 | 23.5 | 35.34%
| Mean | 67.4583 | 55.75 | 0.70833 | 66.75 | 43.0417 | 18.7083 | 24.3333 | 36.45%
1.7134
| mm | Inch
Sensor K | na | 18.78
Sensor Tl | na | 16.81
Avg SWE | na | 17.795
Divergence/adjustment | 6.5383 | inches SWE reading low |  | Sensor/ actual (percent of true) | 77.18% |  |  |  | Mean | 24.6
| 166.0737 | mm SWE reading low |  | "+/- (difference over observed) | -26.87% |  |  |  | Stdev | 1.6125
[9 empty] | Variance | 2.6
Accoustic | m | in | under-reporting by (in)
Depth on sensor | #VALUE! | na |  | We moved up the depth sensor so it would be working 2/26/19
Observed with ruler | na

## 01092020
TAB sampled 01/09/2020 13:25 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
5" new snow today and cold
| 1 | 29 | 28 | 1.5 | 27.5 | 9 | 2.5 | 6.5 | 23.64%
| 1 | 28.5 | 28 | 1 | 27.5 | 9 | 2.5 | 6.5 | 23.64%
| 2 | 31 | 31 | 0 | 31 | 10 | 2.5 | 7.5 | 24.19%
| 2 | 28 | 27.5 | 0 | 28 | 9 | 2.5 | 6.5 | 23.21%
| 3 | 31 | 30 | 1 | 30 | 10 | 2.5 | 7.5 | 25%
| 3 | 32 | 28.5 | 1 | 31 | 9.5 | 2.5 | 7 | 22.58%
| 4 | 28 | 25.5 | 1 | 27 | 9 | 2.5 | 6.5 | 24.07%
| 4 | 28.5 | 28 | 1.5 | 27 | 9 | 2.5 | 6.5 | 24.07%
| 5 | 29 | 28.5 | 1 | 28 | 9.5 | 2.5 | 7 | 25%
| 5 | 28.5 | 27.5 | 1 | 27.5 | 9 | 2.5 | 6.5 | 23.64%
| 6 | 29 | 27 | 1.5 | 27.5 | 9 | 2.5 | 6.5 | 23.64%
| 6 | 28.5 | 28 | 1 | 27.5 | 9 | 2.5 | 6.5 | 23.64%
| Mean | 29.25 | 28.125 | 0.95833 | 28.2917 | 9.25 | 2.5 | 6.75 | 23.86%
0.74295
| mm | Inch
Sensor K | na | 6.26 | K seems more reliable
Sensor Tl | na | 5.787
Avg SWE | na | 6.0235
Divergence/adjustment | 0.7265 | inches SWE reading low |  | Sensor/ actual (percent of true) | 5.16% |  |  |  | Mean | 6.75
| 18.4531 | mm SWE reading low |  | "+/- (difference over observed) | 4.8% |  |  |  | Stdev | 0.39886
[9 empty] | Variance | 0.15909
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.70002 | 27.56
Observed with ruler | na | 28
stadia

## 01302020
TAB sampled 01/30/2020 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 47.5 | 43 | 0 | 47.5 | 31 | 18.5 | 12.5 | 26.32%
| 1 | 43.5 | 42.5 | 0 | 43.5 | 30.5 | 18.5 | 12 | 27.59%
| 2 | 47 | 45 | 1.5 | 45.5 | 32 | 18.5 | 13.5 | 29.67%
| 2 | 43 | 42 | 0.5 | 42.5 | 30 | 18.5 | 11.5 | 27.06%
| 3 | 46 | 46 | 1.5 | 44.5 | 31.5 | 18.5 | 13 | 29.21%
| 3 | 46 | 45 | 1.5 | 44.5 | 31 | 19 | 12 | 26.97%
| 4 | 44 | 43.5 | 1 | 43 | 30.5 | 19 | 11.5 | 26.74%
| 4 | 44 | 42.5 | 1 | 43 | 31 | 19 | 12 | 27.91%
| 5 | 46 | 40 | 1 | 45 | 30.5 | 19 | 11.5 | 25.56%
| 5 | 46.5 | 39.5 | 0.5 | 46 | 31 | 19 | 12 | 26.09%
| 6 | 43.5 | 42 | 0.5 | 43 | 30.5 | 19 | 11.5 | 26.74%
| 6 | 43.5 | 36.5 | 0 | 43.5 | 29.5 | 19 | 10.5 | 24.14%
| Mean | 45.0417 | 42.2917 | 0.75 | 44.2917 | 30.75 | 18.7917 | 11.9583 | 27%
1.1441
| mm | Inch
Sensor K | na | 11.34 | K seems more reliable
Sensor Tl | na | 10.94
Avg SWE | na | 11.14
Divergence/adjustment | 0.81833 | inches SWE reading low |  | Sensor/ actual (percent of true) | 5.16% |  |  |  | Mean | 11.9583
| 20.7857 | mm SWE reading low |  | "+/- (difference over observed) | 4.8% |  |  |  | Stdev | 0.78214
[9 empty] | Variance | 0.61174
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.0541 | 41.5
Observed with ruler | na | 28
stadia

## 022720
TAB sampled 02/27/2020 10 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
| 1 | 49 | 43 | 0.5 | 48.5 | 35 | 19 | 16 | 32.99%
| 1 | 48 | 44 | 1 | 47 | 34.5 | 19 | 15.5 | 32.98%
| 2 | 48 | 44 | 1 | 47 | 33 | 19 | 14 | 29.79%
| 2 | 46 | 44 | 1 | 45 | 33.5 | 19 | 14.5 | 32.22%
| 3 | 48.5 | 42.5 | 1 | 47.5 | 33.5 | 19 | 14.5 | 30.53%
| 3 | 48 | 45 | 1 | 47 | 34 | 18.5 | 15.5 | 32.98%
| 4 | 49 | 43 | 0 | 49 | 33 | 18.5 | 14.5 | 29.59%
| 4 | 49 | 47 | 0.5 | 48.5 | 35.5 | 18.5 | 17 | 35.05%
| 5 | 50.5 | 44 | 0.5 | 50 | 35.5 | 19 | 16.5 | 33%
| 5 | 51.5 | 45 | 0.5 | 51 | 35 | 19 | 16 | 31.37%
| 6 | 48 | 44 | 0.5 | 47.5 | 34 | 19 | 15 | 31.58%
| 6 | 50 | 47 | 0 | 50 | 35.5 | 19 | 16.5 | 33%
| Mean | 48.7917 | 44.375 | 0.625 | 48.1667 | 34.3333 | 18.875 | 15.4583 | 32.09%
1.2393
| mm | Inch
Sensor K | na | 14.29 | K seems more reliable
Sensor Tl | na | 13.39
Avg SWE | na | 13.84
Divergence/adjustment | 1.6183 | inches SWE reading low |  | Sensor/ actual (percent of true) | 5.16% |  |  |  | Mean | 15.4583
| 41.1057 | mm SWE reading low |  | "+/- (difference over observed) | 4.8% |  |  |  | Stdev | 0.96433
[9 empty] | Variance | 0.92992
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.1631 | 45.79
Observed with ruler | na | 28
stadia

## 120420
TAB sampled 12/04/20 15 ;24 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
sunny no new snow for days
| 1 | 20.5 | 17.5 | 2 | 18.5 | 9 | 4 | 5 | 27.03%
| 1 | 20.5 | 19.5 | 2 | 18.5 | 9.5 | 4 | 5.5 | 29.73%
| 2 | 20.5 | 18 | 1 | 19.5 | 9 | 3 | 6 | 30.77%
| 2 | 17.5 | 16 | 1 | 16.5 | 8 | 3 | 5 | 30.3%
| 3 | 19 | 15 | 1 | 18 | 8 | 3 | 5 | 27.78%
| 3 | 17 | 15 | 0 | 17 | 7.5 | 2.5 | 5 | 29.41%
| 4 | 20.5 | 18 | 1.5 | 19 | 8.5 | 2.5 | 6 | 31.58%
| 4 | 20.5 | 17.5 | 0.5 | 20 | 8.5 | 2.5 | 6 | 30%
| 5 | 22 | 19 | 0.5 | 21.5 | 9 | 2.5 | 6.5 | 30.23%
| 5 | 22.5 | 20 | 1 | 21.5 | 9 | 2.5 | 6.5 | 30.23%
| 6 | 23 | 17.5 | 0.5 | 22.5 | 8 | 2 | 6 | 26.67%
| 6 | 20.5 | 17.5 | 5 | 15.5 | 8.5 | 2 | 6.5 | 41.94%
| Mean | 20.3333 | 17.5417 | 1.3333 | 19 | 8.5417 | 2.7917 | 5.75 | 30.47%
0.51647
| mm | Inch
Sensor K | na | 5.16 | K seems more reliable
Sensor Tl | na | 4.8
Avg SWE | na | 4.98
Divergence/adjustment | 0.77 | inches SWE reading high |  | Sensor/ actual (percent of true) | 5.16% |  |  |  | Mean | 5.75
| 19.558 | mm SWE reading high |  | "+/- (difference over observed) | 4.8% |  |  |  | Stdev | 0.62158
[9 empty] | Variance | 0.38636
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 0.44399 | 17.48
Observed with ruler | na | 19
stadia

## 010721
TAB sampled 01/7/21 1600 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
calm 6" frsh snow overnight
| 1 | 46 | 30 | 1 | 45 | 30 | 18.5 | 11.5 | 25.56%
| 1 | 47 | 38 | 1 | 46 | 29.5 | 18.5 | 11 | 23.91%
| 2 | 43 | 38 | 1.5 | 41.5 | 30 | 18.5 | 11.5 | 27.71%
| 2 | 44 | 36 | 1 | 43 | 29 | 18.5 | 10.5 | 24.42%
| 3 | 43.5 | 28 | 1 | 42.5 | 27 | 18.5 | 8.5 | 20%
| 3 | 43.5 | 35 | 1 | 42.5 | 28 | 18.5 | 9.5 | 22.35%
| 4 | 47 | 34 | 1 | 46 | 29 | 18.5 | 10.5 | 22.83%
| 4 | 47 | 35 | 1 | 46 | 28 | 18.5 | 9.5 | 20.65%
| 5 | 48 | 35 | 1 | 47 | 28 | 18.5 | 9.5 | 20.21%
| 5 | 48 | 35 | 1 | 47 | 28.5 | 18.5 | 10 | 21.28%
| 6 | 46 | 32 | 0 | 46 | 28 | 18.5 | 9.5 | 20.65%
| 6 | 47 | 39 | 1 | 46 | 30 | 18.5 | 11.5 | 25%
| Mean | 45.8333 | 34.5833 | 0.95833 | 44.875 | 28.75 | 18.5 | 10.25 | 22.88%
1.1642
| mm | Inch
Sensor K | na | 9.96 | K seems more reliable
Sensor Tl | na | 9.29
Avg SWE | na | 9.625
Divergence/adjustment | 0.625 | inches SWE reading low |  | Sensor/ actual (percent of true) | 97.17% |  |  |  | Mean | 10.25
| 15.875 | mm SWE reading low |  | "+/- (difference over observed) | -2.829% |  |  |  | Stdev | 0.98857
[9 empty] | Variance | 0.97727
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.066 | 41.97
Observed with ruler | na
stadia |  | 42

## 021921
TAB sampled 021921 1630 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
The tubes were warm and the snow fresh and light so we had some very short inside measurements, could be low numbers 9 attempted cores were resampled many at site 4.
| 1 | 64 | 57.5 | 1.5 | 62.5 | 36 | 18.5 | 17.5 | 28%
| 1 | 63.5 | 49.5 | 0.5 | 63 | 35 | 18.5 | 16.5 | 26.19%
| 2 | 59.5 | 54 | 1 | 58.5 | 35 | 18.5 | 16.5 | 28.21%
| 2 | 60.5 | 53.5 | 0.5 | 60 | 34.5 | 18.5 | 16 | 26.67%
| 3 | 60 | 43.5 | 1.5 | 58.5 | 31 | 18.5 | 12.5 | 21.37%
| 3 | 61 | 50.5 | 0.5 | 60.5 | 33 | 18.5 | 14.5 | 23.97%
| 4 | 63 | 38 | 0 | 63 | 33.5 | 18.5 | 15 | 23.81%
| 4 | 64.5 | 55 | 0 | 64.5 | 35 | 18.5 | 16.5 | 25.58%
| 5 | 67 | 58 | 0.5 | 66.5 | 36 | 18.5 | 17.5 | 26.32%
| 5 | 63 | 56 | 0 | 63 | 35.5 | 18.5 | 17 | 26.98%
| 6 | 66 | 47 | 0.5 | 65.5 | 33 | 18.5 | 14.5 | 22.14%
| 6 | 67.5 | 47.5 | 0 | 67.5 | 33 | 18.5 | 14.5 | 21.48%
| Mean | 63.2917 | 50.8333 | 0.54167 | 62.75 | 34.2083 | 18.5 | 15.7083 | 25.06%
1.6076
| mm | Inch
Sensor K | na | 14.84 | K seems more reliable
Sensor Tl | na | 14.06
Avg SWE | na | 14.45
Divergence/adjustment | 1.2583 | inches SWE reading low |  | Sensor/ actual (percent of true) | 94.47% |  |  |  | Mean | 15.7083
| 31.9617 | mm SWE reading low |  | "+/- (difference over observed) | -8.011% |  |  |  | Stdev | 1.5145
[9 empty] | Variance | 2.2936
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.5037 | 59.2
Observed with ruler | na

## 32321
TAB sampled 3/23/21 13 :25 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
sunny day 3-4" fresh snow overnight
| 1 | 57 | 46 | 2 | 55 | 34.5 | 18.5 | 16 | 29.09%
| 1 | 56 | 50 | 1.5 | 54.5 | 35.5 | 18.5 | 17 | 31.19%
| 2 | 50.5 | 44 | 0 | 50.5 | 35 | 18.5 | 16.5 | 32.67%
| 2 | 48 | 40 | 0.5 | 47.5 | 33 | 18.5 | 14.5 | 30.53%
| 3 | 49 | 40.5 | 1 | 48 | 34.5 | 18.5 | 16 | 33.33%
| 3 | 50 | 43.5 | 0.5 | 49.5 | 35 | 18.5 | 16.5 | 33.33%
| 4 | 56 | 44 | 1 | 55 | 35.5 | 18.5 | 17 | 30.91%
| 4 | 57 | 49 | 0 | 57 | 36.5 | 18.5 | 18 | 31.58%
| 5 | 58 | 46 | 0 | 58 | 34.5 | 18.5 | 16 | 27.59%
| 5 | 58 | 47 | 0 | 58 | 35.5 | 18.5 | 17 | 29.31%
| 6 | 59 | 50 | 0 | 59 | 35 | 18.5 | 16.5 | 27.97%
| 6 | 57.5 | 51 | 0 | 57.5 | 36.5 | 18.5 | 18 | 31.3%
| Mean | 54.6667 | 45.9167 | 0.54167 | 54.125 | 35.0833 | 18.5 | 16.5833 | 30.73%
1.3885
| mm | Inch
Sensor K | na | 15.12 | K seems more reliable
Sensor Tl | na | 13.54
Avg SWE | na | 14.33
Divergence/adjustment | 2.2533 | inches SWE reading low |  | Sensor/ actual (percent of true) | 86.41% |  |  |  | Mean | 16.5833
| 57.2347 | mm SWE reading low |  | "+/- (difference over observed) | 13.59% |  |  |  | Stdev | 0.94948
[9 empty] | Variance | 0.90152
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.3051 | 51.38 | 5.072%
Observed with ruler | na

## 04042021
TAB sampled 04/04/2021 12:25 | Sample | Snow depth (in) | Core length (in) | dirt plug (in) | corrected depth | Sample + Tube (SWE") | Tube weight empty | Net SWE (In) | % water
sunny and warm Sunday. Last day of XC ski grooming
| 1 | 45 | 37 | 0 | 45 | 33 | 19 | 14 | 31.11%
| 1 | 46 | 37.5 | 0.5 | 45.5 | 34 | 19 | 15 | 32.97%
| 2 | 42 | 32 | 0 | 42 | 34.5 | 19 | 15.5 | 36.9%
| 2 | 39 | 33 | 1 | 38 | 33.5 | 19 | 14.5 | 38.16%
| 3 | 40 | 34.5 | 0.5 | 39.5 | 31.5 | 19 | 12.5 | 31.65%
| 3 | 39.5 | 38 | 1 | 38.5 | 33.5 | 19 | 14.5 | 37.66%
| 4 | 44 | 41 | 1 | 43 | 36 | 19 | 17 | 39.53%
| 4 | 48 | 42 | 0.5 | 47.5 | 36.5 | 18 | 18.5 | 38.95%
| 5 | 50 | 44 | 0.5 | 49.5 | 35.5 | 18 | 17.5 | 35.35%
| 5 | 50 | 42.5 | 0.5 | 49.5 | 35 | 18 | 17 | 34.34%
| 6 | 53 | 37 | 2 | 51 | 33 | 18 | 15 | 29.41%
| 6 | 47 | 41 | 0 | 47 | 35.5 | 18.5 | 17 | 36.17%
| Mean | 45.2917 | 38.2917 | 0.625 | 44.6667 | 34.2917 | 18.625 | 15.6667 | 35.18%
1.1504
| mm | Inch
Sensor K | na | 14.29 | K seems more reliable
Sensor Tl | na | 12.95
Avg SWE | na | 13.62
Divergence/adjustment | 2.0467 | inches SWE reading low |  | Sensor/ actual (percent of true) | 86.94% |  |  |  | Mean | 15.6667
| 51.9853 | mm SWE reading low |  | "+/- (difference over observed) | 13.06% |  |  |  | Stdev | 1.7364
[9 empty] | Variance | 3.0152
Accoustic | m | in | under-reporting by (in)
Depth on sensor | 1.077 | 42.4 | 5.075%
Observed with ruler | na
on snow stadia stake | 40.8